## Main
Applied Acoustics test - 06/11/2015
Matricola | 268812
What is the theoretical dynamic range of a recording with 20 bit resolution? |  |  | (one answer only)
¡ 72 dB
¡ 96 dB
¡ 110 dB
¡ 120 dB
¡ 140 dB
The signal is sampled at 48 kHz and is analysed with FFT blocks of 4096 samples, with a 75% overlap. Approximately, how many spectra are obtained each second?
¡ 4 |  |  | (one answer only)
¡ 12
¡ 23
¡ 47 | 46.875
¡ 94
And what is the bandwidth of each spectral line? |  |  | (write number and measurement unit)
Df = | 11.7188 | Hz
How many of these spectral lines are included in the 1/3 octave band centered at 2 kHz? |  |  | (write number and measurement unit)
Nlines = | 39 | (in realtà sono 40)
What are the benefit of employing firecrackers instead of other impulsive sources (such as balloons, pistols, clapping machine, loudspeaker, etc.) ?
o Low cost |  |  | (multiple answers)
o Perfectly flat spectrum
o Highly reproducible
o Large acoustical power
o Omnidirectional
What are the benefit of the exponential sine sweep test signal in comparison with other signals (such as white or pink noise, MLS or IRS signal, linear sine sweep) ?
o Perfectly flat (white) spectrum |  |  | (multiple answers)
o Pink spectrum, so better S/N ratio at low frequency
o Immunity to nonlinearities
o Immunity to time variance
o Immunity to impulsive noises during the measurement
An linear sine sweep is convolved with the time reversal of itself. What will be the spectral slope of the resulting signal, as shown by an FFT analysis?
¡ Flat (white) |  |  | (one answer only)
¡ -3 dB/octave (pink)
¡ -6 dB/octave (brown)
¡ -9 dB/octave
¡ -12 dB/octave
What's the purpose of the window to be applied before the FFT operation? |  |  | (one answer only)
¡ For avoiding aliasing
¡ For avoiding spectral leakage
¡ For smoothing the spectrum
¡ For ensuring that the spectral peaks are not too narrow
¡ For removing the DC offset
How many seconds of recording can be stored on an Audio-CD, if its capacity is 700+EF Mbytes? |  |  | (write number and measurement unit)
4036.2812 | s
The recording of a music piece is long 30+E s. The recording is convolved with the impulse response of a church, which is 5+F s long. Compute the length of the convolved signal in samples (at 48 kHz)
1823999 | samples |  | (write number and measurement unit)

## Calc
Matricola | 268812
A | 2
B | 6
C | 8
D | 8
E | 1
F | 2
Freq | Mono
0 | -69.0172
11.718 | -68.1269
23.437 | -66.2109
35.156 | -64.1968
46.875 | -62.404
58.593 | -60.8757
70.312 | -59.5893
82.031 | -58.5151
93.75 | -57.6282
105.468 | -56.9095
117.187 | -56.3439
128.906 | -55.9192
140.625 | -55.625
152.343 | -55.4516
164.062 | -55.3892
175.781 | -55.4279
187.5 | -55.5563
199.218 | -55.7616
210.937 | -56.0281
222.656 | -56.3374
234.375 | -56.6679
246.093 | -56.9951
257.812 | -57.2938
269.531 | -57.5411
281.25 | -57.721
292.968 | -57.8281
304.687 | -57.8688
316.406 | -57.8602
328.125 | -57.8259
339.843 | -57.7916
351.562 | -57.7816
363.281 | -57.8173
375 | -57.9159
386.718 | -58.0912
398.437 | -58.3542
410.156 | -58.7131
421.875 | -59.1742
433.593 | -59.7405
445.312 | -60.4109
457.031 | -61.1759
468.75 | -62.0104
480.468 | -62.8624
492.187 | -63.6399
503.906 | -64.2119
515.625 | -64.4493
527.343 | -64.3014
539.062 | -63.8348
550.781 | -63.1838
562.5 | -62.4752
574.218 | -61.7942
585.937 | -61.1873
597.656 | -60.6748
609.375 | -60.2621
621.093 | -59.9464
632.812 | -59.7203
644.531 | -59.5735
656.25 | -59.4932
667.968 | -59.4648
679.687 | -59.472
691.406 | -59.497
703.125 | -59.5218
714.843 | -59.5292
726.562 | -59.5057
738.281 | -59.4424
750 | -59.3371
761.718 | -59.1942
773.437 | -59.0231
785.156 | -58.8364
796.875 | -58.6478
808.593 | -58.4698
820.312 | -58.313
832.031 | -58.185
843.75 | -58.0909
855.468 | -58.033
867.187 | -58.011
878.906 | -58.0224
890.625 | -58.0628
902.343 | -58.1258
914.062 | -58.2036
925.781 | -58.2874
937.5 | -58.3679
949.218 | -58.4361
960.937 | -58.4843
972.656 | -58.5071
984.375 | -58.5018
996.093 | -58.4686
1007.812 | -58.4106
1019.531 | -58.3331
1031.25 | -58.2423
1042.968 | -58.1443
1054.687 | -58.0449
1066.406 | -57.9484
1078.125 | -57.8578
1089.843 | -57.7743
1101.562 | -57.698
1113.281 | -57.6275
1125 | -57.5609
1136.718 | -57.4955
1148.437 | -57.4288
1160.156 | -57.3583
1171.875 | -57.2823
1183.593 | -57.1997
1195.312 | -57.1103
1207.031 | -57.0147
1218.75 | -56.9142
1230.468 | -56.8106
1242.187 | -56.7059
1253.906 | -56.6018
1265.625 | -56.5002
1277.343 | -56.4023
1289.062 | -56.3092
1300.781 | -56.2215
1312.5 | -56.1394
1324.218 | -56.0631
1335.937 | -55.9927
1347.656 | -55.9284
1359.375 | -55.8704
1371.093 | -55.8195
1382.812 | -55.7763
1394.531 | -55.7422
1406.25 | -55.7183
1417.968 | -55.706
1429.687 | -55.7067
1441.406 | -55.7215
1453.125 | -55.7512
1464.843 | -55.7962
1476.562 | -55.8561
1488.281 | -55.9301
1500 | -56.0166
1511.718 | -56.1132
1523.437 | -56.2171
1535.156 | -56.3249
1546.875 | -56.4328
1558.593 | -56.5372
1570.312 | -56.6346
1582.031 | -56.7224
1593.75 | -56.7989
1605.468 | -56.8636
1617.187 | -56.9175
1628.906 | -56.9627
1640.625 | -57.0024
1652.343 | -57.0405
1664.062 | -57.0815
1675.781 | -57.1295
1687.5 | -57.1883
1699.218 | -57.2612
1710.937 | -57.3505
1722.656 | -57.4576
1734.375 | -57.5826
1746.093 | -57.7248
1757.812 | -57.8822
1769.531 | -58.0519 | 1778
1781.25 | -58.2301 |  | 1
1792.968 | -58.4124 |  | 2
1804.687 | -58.5941 |  | 3
1816.406 | -58.7707 |  | 4
1828.125 | -58.9383 |  | 5
1839.843 | -59.094 |  | 6
1851.562 | -59.2363 |  | 7
1863.281 | -59.3655 |  | 8
1875 | -59.4836 |  | 9
1886.718 | -59.5937 |  | 10
1898.437 | -59.7001 |  | 11
1910.156 | -59.8077 |  | 12
1921.875 | -59.9213 |  | 13
1933.593 | -60.0451 |  | 14
1945.312 | -60.1829 |  | 15
1957.031 | -60.337 |  | 16
1968.75 | -60.5087 |  | 17
1980.468 | -60.6976 |  | 18
1992.187 | -60.9021 |  | 19
2003.906 | -61.1184 |  | 20
2015.625 | -61.3416 |  | 21
2027.343 | -61.5652 |  | 22
2039.062 | -61.7813 |  | 23
2050.781 | -61.9817 |  | 24
2062.5 | -62.1583 |  | 25
2074.218 | -62.3042 |  | 26
2085.937 | -62.4147 |  | 27
2097.656 | -62.4875 |  | 28
2109.375 | -62.524 |  | 29
2121.093 | -62.528 |  | 30
2132.812 | -62.5059 |  | 31
2144.531 | -62.4654 |  | 32
2156.25 | -62.415 |  | 33
2167.968 | -62.3627 |  | 34
2179.687 | -62.3157 |  | 35
2191.406 | -62.2803 |  | 36
2203.125 | -62.2611 |  | 37
2214.843 | -62.2615 |  | 38
2226.562 | -62.2832 |  | 39
2238.281 | -62.3264 |  | 40
2250 | -62.3895 | 2239
2261.718 | -62.4689
2273.437 | -62.5593
2285.156 | -62.6533
2296.875 | -62.7415
2308.593 | -62.8135
2320.312 | -62.8578
2332.031 | -62.864
2343.75 | -62.8235
2355.468 | -62.7316
2367.187 | -62.5877
2378.906 | -62.3961
2390.625 | -62.1646
2402.343 | -61.904
2414.062 | -61.6258
2425.781 | -61.3415
2437.5 | -61.0613
2449.218 | -60.7936
2460.937 | -60.5451
2472.656 | -60.3202
2484.375 | -60.1217
2496.093 | -59.9505
2507.812 | -59.8062
2519.531 | -59.6868
2531.25 | -59.5893
2542.968 | -59.5097
2554.687 | -59.4433
2566.406 | -59.385
2578.125 | -59.3295
2589.843 | -59.272
2601.562 | -59.2084
2613.281 | -59.1357
2625 | -59.0522
2636.718 | -58.9576
2648.437 | -58.853
2660.156 | -58.7406
2671.875 | -58.6233
2683.593 | -58.5044
2695.312 | -58.3873
2707.031 | -58.2749
2718.75 | -58.1697
2730.468 | -58.0735
2742.187 | -57.9872
2753.906 | -57.9111
2765.625 | -57.8447
2777.343 | -57.7873
2789.062 | -57.7375
2800.781 | -57.6939
2812.5 | -57.6552
2824.218 | -57.6201
2835.937 | -57.5877
2847.656 | -57.5576
2859.375 | -57.5297
2871.093 | -57.5043
2882.812 | -57.482
2894.531 | -57.4633
2906.25 | -57.4491
2917.968 | -57.4398
2929.687 | -57.4355
2941.406 | -57.4359
2953.125 | -57.4401
2964.843 | -57.4467
2976.562 | -57.4538
2988.281 | -57.459
3000 | -57.46
3011.718 | -57.4542
3023.437 | -57.4394
3035.156 | -57.4136
3046.875 | -57.3758
3058.593 | -57.3255
3070.312 | -57.263
3082.031 | -57.1895
3093.75 | -57.1065
3105.468 | -57.016
3117.187 | -56.9201
3128.906 | -56.8208
3140.625 | -56.7199
3152.343 | -56.619
3164.062 | -56.5193
3175.781 | -56.4214
3187.5 | -56.3259
3199.218 | -56.2331
3210.937 | -56.1432
3222.656 | -56.0566
3234.375 | -55.9735
3246.093 | -55.8948
3257.812 | -55.8211
3269.531 | -55.7536
3281.25 | -55.6935
3292.968 | -55.6422
3304.687 | -55.6009
3316.406 | -55.5709
3328.125 | -55.5529
3339.843 | -55.5475
3351.562 | -55.5546
3363.281 | -55.5738
3375 | -55.6039
3386.718 | -55.6431
3398.437 | -55.6893
3410.156 | -55.7399
3421.875 | -55.792
3433.593 | -55.8429
3445.312 | -55.8899
3457.031 | -55.9309
3468.75 | -55.9647
3480.468 | -55.9908
3492.187 | -56.0096
3503.906 | -56.0224
3515.625 | -56.0312
3527.343 | -56.0386
3539.062 | -56.0469
3550.781 | -56.0588
3562.5 | -56.0761
3574.218 | -56.1002
3585.937 | -56.1315
3597.656 | -56.1696
3609.375 | -56.2129
3621.093 | -56.2591
3632.812 | -56.3051
3644.531 | -56.3473
3656.25 | -56.3821
3667.968 | -56.4061
3679.687 | -56.4167
3691.406 | -56.4125
3703.125 | -56.3935
3714.843 | -56.3612
3726.562 | -56.3186
3738.281 | -56.2696
3750 | -56.219
3761.718 | -56.172
3773.437 | -56.1334
3785.156 | -56.108
3796.875 | -56.0993
3808.593 | -56.1105
3820.312 | -56.1435
3832.031 | -56.199
3843.75 | -56.2767
3855.468 | -56.3754
3867.187 | -56.4924
3878.906 | -56.6242
3890.625 | -56.7664
3902.343 | -56.9136
3914.062 | -57.0602
3925.781 | -57.2005
3937.5 | -57.3291
3949.218 | -57.4415
3960.937 | -57.5347
3972.656 | -57.6073
3984.375 | -57.6595
3996.093 | -57.6931
4007.812 | -57.7114
4019.531 | -57.718
4031.25 | -57.7172
4042.968 | -57.7129
4054.687 | -57.7084
4066.406 | -57.7062
4078.125 | -57.708
4089.843 | -57.7143
4101.562 | -57.7248
4113.281 | -57.7384
4125 | -57.7533
4136.718 | -57.7674
4148.437 | -57.7783
4160.156 | -57.7836
4171.875 | -57.7813
4183.593 | -57.7698
4195.312 | -57.748
4207.031 | -57.7155
4218.75 | -57.6725
4230.468 | -57.6197
4242.187 | -57.5583
4253.906 | -57.4897
4265.625 | -57.4158
4277.343 | -57.3382
4289.062 | -57.2588
4300.781 | -57.1791
4312.5 | -57.1007
4324.218 | -57.0253
4335.937 | -56.954
4347.656 | -56.8881
4359.375 | -56.8287
4371.093 | -56.7768
4382.812 | -56.7331
4394.531 | -56.6983
4406.25 | -56.6727
4417.968 | -56.6565
4429.687 | -56.6494
4441.406 | -56.651
4453.125 | -56.6604
4464.843 | -56.6764
4476.562 | -56.6975
4488.281 | -56.7219
4500 | -56.7477
4511.718 | -56.7727
4523.437 | -56.795
4535.156 | -56.8126
4546.875 | -56.824
4558.593 | -56.8279
4570.312 | -56.8239
4582.031 | -56.8118
4593.75 | -56.7921
4605.468 | -56.7658
4617.187 | -56.7344
4628.906 | -56.6994
4640.625 | -56.6626
4652.343 | -56.6257
4664.062 | -56.5902
4675.781 | -56.5574
4687.5 | -56.5281
4699.218 | -56.503
4710.937 | -56.4821
4722.656 | -56.4652
4734.375 | -56.4518
4746.093 | -56.4411
4757.812 | -56.432
4769.531 | -56.4236
4781.25 | -56.4147
4792.968 | -56.4045
4804.687 | -56.3921
4816.406 | -56.3771
4828.125 | -56.3592
4839.843 | -56.3385
4851.562 | -56.3153
4863.281 | -56.2903
4875 | -56.2642
4886.718 | -56.2379
4898.437 | -56.2125
4910.156 | -56.1887
4921.875 | -56.1676
4933.593 | -56.1498
4945.312 | -56.1358
4957.031 | -56.1258
4968.75 | -56.1198
4980.468 | -56.1175
4992.187 | -56.1184
5003.906 | -56.1215
5015.625 | -56.1258
5027.343 | -56.1299
5039.062 | -56.1326
5050.781 | -56.1325
5062.5 | -56.1281
5074.218 | -56.1183
5085.937 | -56.1023
5097.656 | -56.0795
5109.375 | -56.0497
5121.093 | -56.0134
5132.812 | -55.9713
5144.531 | -55.9246
5156.25 | -55.8747
5167.968 | -55.8235
5179.687 | -55.7726
5191.406 | -55.7241
5203.125 | -55.6796
5214.843 | -55.6406
5226.562 | -55.6084
5238.281 | -55.5838
5250 | -55.5674
5261.718 | -55.5592
5273.437 | -55.5588
5285.156 | -55.5657
5296.875 | -55.5788
5308.593 | -55.5969
5320.312 | -55.6186
5332.031 | -55.6426
5343.75 | -55.6676
5355.468 | -55.6927
5367.187 | -55.717
5378.906 | -55.7404
5390.625 | -55.7629
5402.343 | -55.7852
5414.062 | -55.8083
5425.781 | -55.8333
5437.5 | -55.8619
5449.218 | -55.8954
5460.937 | -55.9353
5472.656 | -55.9829
5484.375 | -56.039
5496.093 | -56.104
5507.812 | -56.1779
5519.531 | -56.26
5531.25 | -56.349
5542.968 | -56.4433
5554.687 | -56.5404
5566.406 | -56.6376
5578.125 | -56.7319
5589.843 | -56.8204
5601.562 | -56.9002
5613.281 | -56.9689
5625 | -57.0248
5636.718 | -57.0669
5648.437 | -57.0951
5660.156 | -57.1103
5671.875 | -57.114
5683.593 | -57.1084
5695.312 | -57.0959
5707.031 | -57.079
5718.75 | -57.0602
5730.468 | -57.0415
5742.187 | -57.0244
5753.906 | -57.0099
5765.625 | -56.9986
5777.343 | -56.9902
5789.062 | -56.9843
5800.781 | -56.9798
5812.5 | -56.9755
5824.218 | -56.9703
5835.937 | -56.9628
5847.656 | -56.9523
5859.375 | -56.938
5871.093 | -56.92
5882.812 | -56.8987
5894.531 | -56.8749
5906.25 | -56.8501
5917.968 | -56.8261
5929.687 | -56.8048
5941.406 | -56.7884
5953.125 | -56.7788
5964.843 | -56.778
5976.562 | -56.7877
5988.281 | -56.8089
6000 | -56.8427
6011.718 | -56.8893
6023.437 | -56.9486
6035.156 | -57.0198
6046.875 | -57.1018
6058.593 | -57.1928
6070.312 | -57.2908
6082.031 | -57.393
6093.75 | -57.4968
6105.468 | -57.5993
6117.187 | -57.6977
6128.906 | -57.7895
6140.625 | -57.8727
6152.343 | -57.9458
6164.062 | -58.0083
6175.781 | -58.0602
6187.5 | -58.1024
6199.218 | -58.1365
6210.937 | -58.1645
6222.656 | -58.1887
6234.375 | -58.2115
6246.093 | -58.235
6257.812 | -58.2612
6269.531 | -58.2916
6281.25 | -58.3271
6292.968 | -58.3679
6304.687 | -58.4135
6316.406 | -58.4631
6328.125 | -58.5149
6339.843 | -58.567
6351.562 | -58.617
6363.281 | -58.6623
6375 | -58.7008
6386.718 | -58.7304
6398.437 | -58.7497
6410.156 | -58.7581
6421.875 | -58.7558
6433.593 | -58.7439
6445.312 | -58.7243
6457.031 | -58.6994
6468.75 | -58.6722
6480.468 | -58.6458
6492.187 | -58.6231
6503.906 | -58.6071
6515.625 | -58.6
6527.343 | -58.6035
6539.062 | -58.6189
6550.781 | -58.6464
6562.5 | -58.6856
6574.218 | -58.7352
6585.937 | -58.7932
6597.656 | -58.8568
6609.375 | -58.9229
6621.093 | -58.9876
6632.812 | -59.0471
6644.531 | -59.0975
6656.25 | -59.1356
6667.968 | -59.1586
6679.687 | -59.1652
6691.406 | -59.1548
6703.125 | -59.1284
6714.843 | -59.088
6726.562 | -59.0363
6738.281 | -58.9771
6750 | -58.9139
6761.718 | -58.8506
6773.437 | -58.7907
6785.156 | -58.7372
6796.875 | -58.6925
6808.593 | -58.6582
6820.312 | -58.6354
6832.031 | -58.6245
6843.75 | -58.6249
6855.468 | -58.6359
6867.187 | -58.656
6878.906 | -58.6834
6890.625 | -58.716
6902.343 | -58.7517
6914.062 | -58.7886
6925.781 | -58.8249
6937.5 | -58.8592
6949.218 | -58.8907
6960.937 | -58.9191
6972.656 | -58.9448
6984.375 | -58.9686
6996.093 | -58.9919
7007.812 | -59.0162
7019.531 | -59.0434
7031.25 | -59.0751
7042.968 | -59.1128
7054.687 | -59.1579
7066.406 | -59.211
7078.125 | -59.2724
7089.843 | -59.3419
7101.562 | -59.4185
7113.281 | -59.5008
7125 | -59.5869
7136.718 | -59.6746
7148.437 | -59.7614
7160.156 | -59.8448
7171.875 | -59.9226
7183.593 | -59.9928
7195.312 | -60.0544
7207.031 | -60.1065
7218.75 | -60.1496
7230.468 | -60.1844
7242.187 | -60.2125
7253.906 | -60.2359
7265.625 | -60.2568
7277.343 | -60.2777
7289.062 | -60.3005
7300.781 | -60.3272
7312.5 | -60.3592
7324.218 | -60.3973
7335.937 | -60.4419
7347.656 | -60.4927
7359.375 | -60.549
7371.093 | -60.6097
7382.812 | -60.6732
7394.531 | -60.738
7406.25 | -60.8025
7417.968 | -60.8654
7429.687 | -60.9255
7441.406 | -60.9823
7453.125 | -61.0358
7464.843 | -61.0863
7476.562 | -61.1349
7488.281 | -61.183
7500 | -61.232
7511.718 | -61.2837
7523.437 | -61.3397
7535.156 | -61.4012
7546.875 | -61.4693
7558.593 | -61.5444
7570.312 | -61.6265
7582.031 | -61.7148
7593.75 | -61.8081
7605.468 | -61.9046
7617.187 | -62.002
7628.906 | -62.0979
7640.625 | -62.1896
7652.343 | -62.2745
7664.062 | -62.3505
7675.781 | -62.4157
7687.5 | -62.4692
7699.218 | -62.5107
7710.937 | -62.5406
7722.656 | -62.5602
7734.375 | -62.5713
7746.093 | -62.5761
7757.812 | -62.5769
7769.531 | -62.5761
7781.25 | -62.5759
7792.968 | -62.5779
7804.687 | -62.5838
7816.406 | -62.5942
7828.125 | -62.6098
7839.843 | -62.6306
7851.562 | -62.656
7863.281 | -62.6855
7875 | -62.7182
7886.718 | -62.753
7898.437 | -62.7888
7910.156 | -62.8249
7921.875 | -62.8604
7933.593 | -62.8948
7945.312 | -62.9279
7957.031 | -62.9599
7968.75 | -62.9913
7980.468 | -63.0228
7992.187 | -63.0553
8003.906 | -63.0899
8015.625 | -63.1278
8027.343 | -63.1702
8039.062 | -63.2181
8050.781 | -63.2723
8062.5 | -63.3335
8074.218 | -63.402
8085.937 | -63.4778
8097.656 | -63.5607
8109.375 | -63.6498
8121.093 | -63.7442
8132.812 | -63.8423
8144.531 | -63.9424
8156.25 | -64.0425
8167.968 | -64.1405
8179.687 | -64.2341
8191.406 | -64.3213
8203.125 | -64.4001
8214.843 | -64.4693
8226.562 | -64.5276
8238.281 | -64.5747
8250 | -64.6106
8261.718 | -64.636
8273.437 | -64.6521
8285.156 | -64.6601
8296.875 | -64.6618
8308.593 | -64.6588
8320.312 | -64.6527
8332.031 | -64.6449
8343.75 | -64.6363
8355.468 | -64.6279
8367.187 | -64.6199
8378.906 | -64.6125
8390.625 | -64.6053
8402.343 | -64.598
8414.062 | -64.5899
8425.781 | -64.5804
8437.5 | -64.5691
8449.218 | -64.5555
8460.937 | -64.5395
8472.656 | -64.5213
8484.375 | -64.5011
8496.093 | -64.4797
8507.812 | -64.4579
8519.531 | -64.4365
8531.25 | -64.4165
8542.968 | -64.3989
8554.687 | -64.3845
8566.406 | -64.3738
8578.125 | -64.3672
8589.843 | -64.3647
8601.562 | -64.3663
8613.281 | -64.3713
8625 | -64.3792
8636.718 | -64.389
8648.437 | -64.3998
8660.156 | -64.4106
8671.875 | -64.4207
8683.593 | -64.4291
8695.312 | -64.4354
8707.031 | -64.4392
8718.75 | -64.4403
8730.468 | -64.4389
8742.187 | -64.4353
8753.906 | -64.4298
8765.625 | -64.4228
8777.343 | -64.4149
8789.062 | -64.4063
8800.781 | -64.3974
8812.5 | -64.3883
8824.218 | -64.3791
8835.937 | -64.3697
8847.656 | -64.36
8859.375 | -64.3496
8871.093 | -64.3384
8882.812 | -64.3261
8894.531 | -64.3124
8906.25 | -64.2973
8917.968 | -64.2808
8929.687 | -64.2627
8941.406 | -64.2434
8953.125 | -64.2228
8964.843 | -64.2013
8976.562 | -64.1789
8988.281 | -64.1559
9000 | -64.1323
9011.718 | -64.1081
9023.437 | -64.0836
9035.156 | -64.0586
9046.875 | -64.0334
9058.593 | -64.008
9070.312 | -63.9828
9082.031 | -63.9582
9093.75 | -63.9348
9105.468 | -63.9133
9117.187 | -63.8948
9128.906 | -63.8803
9140.625 | -63.8709
9152.343 | -63.8681
9164.062 | -63.8729
9175.781 | -63.8865
9187.5 | -63.91
9199.218 | -63.9441
9210.937 | -63.9893
9222.656 | -64.046
9234.375 | -64.1138
9246.093 | -64.1925
9257.812 | -64.2811
9269.531 | -64.3784
9281.25 | -64.4829
9292.968 | -64.5927
9304.687 | -64.7059
9316.406 | -64.8203
9328.125 | -64.9339
9339.843 | -65.0447
9351.562 | -65.1511
9363.281 | -65.2518
9375 | -65.3458
9386.718 | -65.4327
9398.437 | -65.5125
9410.156 | -65.5854
9421.875 | -65.652
9433.593 | -65.7131
9445.312 | -65.7695
9457.031 | -65.8219
9468.75 | -65.871
9480.468 | -65.9171
9492.187 | -65.9604
9503.906 | -66.0009
9515.625 | -66.0385
9527.343 | -66.0729
9539.062 | -66.1036
9550.781 | -66.1304
9562.5 | -66.153
9574.218 | -66.1716
9585.937 | -66.1862
9597.656 | -66.1973
9609.375 | -66.2055
9621.093 | -66.2116
9632.812 | -66.2168
9644.531 | -66.2218
9656.25 | -66.2279
9667.968 | -66.236
9679.687 | -66.247
9691.406 | -66.2616
9703.125 | -66.2803
9714.843 | -66.3036
9726.562 | -66.3318
9738.281 | -66.3648
9750 | -66.4029
9761.718 | -66.4458
9773.437 | -66.4937
9785.156 | -66.5465
9796.875 | -66.6042
9808.593 | -66.6669
9820.312 | -66.7348
9832.031 | -66.8082
9843.75 | -66.8871
9855.468 | -66.9719
9867.187 | -67.0626
9878.906 | -67.1592
9890.625 | -67.2615
9902.343 | -67.369
9914.062 | -67.4809
9925.781 | -67.5962
9937.5 | -67.7135
9949.218 | -67.8314
9960.937 | -67.948
9972.656 | -68.0614
9984.375 | -68.17
9996.093 | -68.2721
10007.812 | -68.3665
10019.531 | -68.4525
10031.25 | -68.5299
10042.968 | -68.5992
10054.687 | -68.6614
10066.406 | -68.7184
10078.125 | -68.7719
10089.843 | -68.8243
10101.562 | -68.8776
10113.281 | -68.9338
10125 | -68.9944
10136.718 | -69.0604
10148.437 | -69.132
10160.156 | -69.2087
10171.875 | -69.2893
10183.593 | -69.3716
10195.312 | -69.453
10207.031 | -69.5303
10218.75 | -69.5999
10230.468 | -69.6585
10242.187 | -69.7031
10253.906 | -69.7312
10265.625 | -69.7416
10277.343 | -69.7342
10289.062 | -69.7102
10300.781 | -69.6719
10312.5 | -69.6222
10324.218 | -69.5649
10335.937 | -69.5038
10347.656 | -69.4423
10359.375 | -69.3837
10371.093 | -69.3304
10382.812 | -69.2841
10394.531 | -69.2459
10406.25 | -69.216
10417.968 | -69.1942
10429.687 | -69.1795
10441.406 | -69.1707
10453.125 | -69.1667
10464.843 | -69.1659
10476.562 | -69.1672
10488.281 | -69.1698
10500 | -69.173
10511.718 | -69.177
10523.437 | -69.182
10535.156 | -69.1888
10546.875 | -69.1985
10558.593 | -69.2122
10570.312 | -69.2309
10582.031 | -69.2556
10593.75 | -69.2866
10605.468 | -69.324
10617.187 | -69.3675
10628.906 | -69.416
10640.625 | -69.468
10652.343 | -69.5218
10664.062 | -69.5751
10675.781 | -69.6258
10687.5 | -69.6719
10699.218 | -69.7114
10710.937 | -69.7433
10722.656 | -69.7668
10734.375 | -69.7821
10746.093 | -69.79
10757.812 | -69.7917
10769.531 | -69.789
10781.25 | -69.7836
10792.968 | -69.7772
10804.687 | -69.7713
10816.406 | -69.7665
10828.125 | -69.763
10839.843 | -69.7603
10851.562 | -69.7571
10863.281 | -69.7517
10875 | -69.7418
10886.718 | -69.7251
10898.437 | -69.6993
10910.156 | -69.6626
10921.875 | -69.6135
10933.593 | -69.5518
10945.312 | -69.4778
10957.031 | -69.393
10968.75 | -69.2995
10980.468 | -69.1999
10992.187 | -69.0973
11003.906 | -68.9947
11015.625 | -68.895
11027.343 | -68.8007
11039.062 | -68.7138
11050.781 | -68.6359
11062.5 | -68.5678
11074.218 | -68.5101
11085.937 | -68.4625
11097.656 | -68.4248
11109.375 | -68.3962
11121.093 | -68.3759
11132.812 | -68.363
11144.531 | -68.3566
11156.25 | -68.3559
11167.968 | -68.3604
11179.687 | -68.3696
11191.406 | -68.3834
11203.125 | -68.4018
11214.843 | -68.4248
11226.562 | -68.4526
11238.281 | -68.4854
11250 | -68.5232
11261.718 | -68.5659
11273.437 | -68.6132
11285.156 | -68.6646
11296.875 | -68.7194
11308.593 | -68.7766
11320.312 | -68.8349
11332.031 | -68.8932
11343.75 | -68.9499
11355.468 | -69.0039
11367.187 | -69.0537
11378.906 | -69.0983
11390.625 | -69.1367
11402.343 | -69.168
11414.062 | -69.1917
11425.781 | -69.2072
11437.5 | -69.2144
11449.218 | -69.213
11460.937 | -69.2027
11472.656 | -69.1834
11484.375 | -69.155
11496.093 | -69.1175
11507.812 | -69.0709
11519.531 | -69.0154
11531.25 | -68.9517
11542.968 | -68.8804
11554.687 | -68.8026
11566.406 | -68.7197
11578.125 | -68.6333
11589.843 | -68.5453
11601.562 | -68.4578
11613.281 | -68.3726
11625 | -68.2918
11636.718 | -68.2173
11648.437 | -68.1506
11660.156 | -68.0932
11671.875 | -68.0461
11683.593 | -68.0101
11695.312 | -67.9857
11707.031 | -67.973
11718.75 | -67.972
11730.468 | -67.9823
11742.187 | -68.0034
11753.906 | -68.0346
11765.625 | -68.0752
11777.343 | -68.1243
11789.062 | -68.1811
11800.781 | -68.245
11812.5 | -68.3152
11824.218 | -68.3911
11835.937 | -68.4722
11847.656 | -68.5581
11859.375 | -68.6481
11871.093 | -68.7419
11882.812 | -68.8389
11894.531 | -68.9382
11906.25 | -69.0392
11917.968 | -69.1406
11929.687 | -69.2411
11941.406 | -69.3394
11953.125 | -69.4338
11964.843 | -69.5226
11976.562 | -69.6043
11988.281 | -69.6775
12000 | -69.741
12011.718 | -69.7941
12023.437 | -69.8364
12035.156 | -69.8681
12046.875 | -69.8898
12058.593 | -69.9026
12070.312 | -69.9077
12082.031 | -69.9066
12093.75 | -69.9009
12105.468 | -69.8922
12117.187 | -69.8819
12128.906 | -69.8713
12140.625 | -69.8617
12152.343 | -69.8539
12164.062 | -69.8486
12175.781 | -69.8465
12187.5 | -69.848
12199.218 | -69.8533
12210.937 | -69.8628
12222.656 | -69.8764
12234.375 | -69.8945
12246.093 | -69.9171
12257.812 | -69.9443
12269.531 | -69.9763
12281.25 | -70.0131
12292.968 | -70.0547
12304.687 | -70.1013
12316.406 | -70.1528
12328.125 | -70.2089
12339.843 | -70.2696
12351.562 | -70.3345
12363.281 | -70.403
12375 | -70.4743
12386.718 | -70.5478
12398.437 | -70.6221
12410.156 | -70.6962
12421.875 | -70.7685
12433.593 | -70.8375
12445.312 | -70.9016
12457.031 | -70.959
12468.75 | -71.0082
12480.468 | -71.0479
12492.187 | -71.0767
12503.906 | -71.0938
12515.625 | -71.0989
12527.343 | -71.0918
12539.062 | -71.073
12550.781 | -71.0433
12562.5 | -71.004
12574.218 | -70.9566
12585.937 | -70.903
12597.656 | -70.8452
12609.375 | -70.7852
12621.093 | -70.725
12632.812 | -70.6665
12644.531 | -70.6113
12656.25 | -70.5606
12667.968 | -70.5154
12679.687 | -70.4763
12691.406 | -70.4434
12703.125 | -70.4165
12714.843 | -70.3951
12726.562 | -70.3783
12738.281 | -70.3653
12750 | -70.3548
12761.718 | -70.3458
12773.437 | -70.3373
12785.156 | -70.3286
12796.875 | -70.319
12808.593 | -70.3081
12820.312 | -70.296
12832.031 | -70.2828
12843.75 | -70.269
12855.468 | -70.255
12867.187 | -70.2414
12878.906 | -70.229
12890.625 | -70.2182
12902.343 | -70.2095
12914.062 | -70.2032
12925.781 | -70.1993
12937.5 | -70.1978
12949.218 | -70.1985
12960.937 | -70.2011
12972.656 | -70.2053
12984.375 | -70.2108
12996.093 | -70.2172
13007.812 | -70.2245
13019.531 | -70.2325
13031.25 | -70.2413
13042.968 | -70.2511
13054.687 | -70.2621
13066.406 | -70.2745
13078.125 | -70.2886
13089.843 | -70.3044
13101.562 | -70.3221
13113.281 | -70.3414
13125 | -70.3619
13136.718 | -70.3833
13148.437 | -70.4047
13160.156 | -70.4254
13171.875 | -70.4444
13183.593 | -70.4608
13195.312 | -70.4739
13207.031 | -70.4828
13218.75 | -70.4871
13230.468 | -70.4864
13242.187 | -70.4805
13253.906 | -70.4696
13265.625 | -70.4539
13277.343 | -70.4338
13289.062 | -70.41
13300.781 | -70.383
13312.5 | -70.3535
13324.218 | -70.322
13335.937 | -70.2892
13347.656 | -70.2557
13359.375 | -70.2222
13371.093 | -70.1891
13382.812 | -70.1572
13394.531 | -70.1271
13406.25 | -70.0996
13417.968 | -70.0754
13429.687 | -70.0553
13441.406 | -70.0401
13453.125 | -70.0306
13464.843 | -70.0274
13476.562 | -70.031
13488.281 | -70.0417
13500 | -70.0597
13511.718 | -70.0846
13523.437 | -70.116
13535.156 | -70.1531
13546.875 | -70.1949
13558.593 | -70.2402
13570.312 | -70.2874
13582.031 | -70.3352
13593.75 | -70.3822
13605.468 | -70.4272
13617.187 | -70.4693
13628.906 | -70.5077
13640.625 | -70.5423
13652.343 | -70.5733
13664.062 | -70.601
13675.781 | -70.6264
13687.5 | -70.6503
13699.218 | -70.6737
13710.937 | -70.6973
13722.656 | -70.7219
13734.375 | -70.7478
13746.093 | -70.7749
13757.812 | -70.8027
13769.531 | -70.8304
13781.25 | -70.8569
13792.968 | -70.881
13804.687 | -70.9011
13816.406 | -70.9161
13828.125 | -70.9249
13839.843 | -70.9268
13851.562 | -70.9218
13863.281 | -70.9101
13875 | -70.8926
13886.718 | -70.8707
13898.437 | -70.8462
13910.156 | -70.8208
13921.875 | -70.7965
13933.593 | -70.7753
13945.312 | -70.7585
13957.031 | -70.7475
13968.75 | -70.743
13980.468 | -70.7454
13992.187 | -70.7547
14003.906 | -70.7703
14015.625 | -70.7914
14027.343 | -70.8169
14039.062 | -70.8456
14050.781 | -70.8763
14062.5 | -70.9076
14074.218 | -70.9385
14085.937 | -70.968
14097.656 | -70.9956
14109.375 | -71.0208
14121.093 | -71.0435
14132.812 | -71.0638
14144.531 | -71.0817
14156.25 | -71.0975
14167.968 | -71.1113
14179.687 | -71.1232
14191.406 | -71.133
14203.125 | -71.1404
14214.843 | -71.1449
14226.562 | -71.1458
14238.281 | -71.1425
14250 | -71.1342
14261.718 | -71.1205
14273.437 | -71.1009
14285.156 | -71.0754
14296.875 | -71.0441
14308.593 | -71.0077
14320.312 | -70.967
14332.031 | -70.9232
14343.75 | -70.8776
14355.468 | -70.8317
14367.187 | -70.7868
14378.906 | -70.7443
14390.625 | -70.7052
14402.343 | -70.6704
14414.062 | -70.6405
14425.781 | -70.6157
14437.5 | -70.5961
14449.218 | -70.5813
14460.937 | -70.5708
14472.656 | -70.5641
14484.375 | -70.5604
14496.093 | -70.559
14507.812 | -70.5591
14519.531 | -70.56
14531.25 | -70.5611
14542.968 | -70.5618
14554.687 | -70.5618
14566.406 | -70.5608
14578.125 | -70.5583
14589.843 | -70.5544
14601.562 | -70.5488
14613.281 | -70.5414
14625 | -70.532
14636.718 | -70.5207
14648.437 | -70.5073
14660.156 | -70.4919
14671.875 | -70.4744
14683.593 | -70.4549
14695.312 | -70.4336
14707.031 | -70.4109
14718.75 | -70.3871
14730.468 | -70.3627
14742.187 | -70.3383
14753.906 | -70.3146
14765.625 | -70.2922
14777.343 | -70.2717
14789.062 | -70.2535
14800.781 | -70.238
14812.5 | -70.2252
14824.218 | -70.2151
14835.937 | -70.2074
14847.656 | -70.2015
14859.375 | -70.1966
14871.093 | -70.192
14882.812 | -70.1868
14894.531 | -70.1799
14906.25 | -70.1707
14917.968 | -70.1584
14929.687 | -70.1428
14941.406 | -70.1236
14953.125 | -70.1011
14964.843 | -70.0757
14976.562 | -70.048
14988.281 | -70.0191
15000 | -69.9897
15011.718 | -69.961
15023.437 | -69.9337
15035.156 | -69.9085
15046.875 | -69.8859
15058.593 | -69.8659
15070.312 | -69.8484
15082.031 | -69.8329
15093.75 | -69.8185
15105.468 | -69.8044
15117.187 | -69.7895
15128.906 | -69.7726
15140.625 | -69.753
15152.343 | -69.73
15164.062 | -69.7031
15175.781 | -69.6726
15187.5 | -69.639
15199.218 | -69.6032
15210.937 | -69.5665
15222.656 | -69.5307
15234.375 | -69.4973
15246.093 | -69.4684
15257.812 | -69.4456
15269.531 | -69.4305
15281.25 | -69.4244
15292.968 | -69.4279
15304.687 | -69.4417
15316.406 | -69.4656
15328.125 | -69.4991
15339.843 | -69.5412
15351.562 | -69.5907
15363.281 | -69.646
15375 | -69.7054
15386.718 | -69.7672
15398.437 | -69.8299
15410.156 | -69.8919
15421.875 | -69.9524
15433.593 | -70.0108
15445.312 | -70.0668
15457.031 | -70.1208
15468.75 | -70.1733
15480.468 | -70.2253
15492.187 | -70.2777
15503.906 | -70.3314
15515.625 | -70.3872
15527.343 | -70.4454
15539.062 | -70.5059
15550.781 | -70.5681
15562.5 | -70.631
15574.218 | -70.6928
15585.937 | -70.7517
15597.656 | -70.8055
15609.375 | -70.852
15621.093 | -70.8892
15632.812 | -70.9156
15644.531 | -70.9304
15656.25 | -70.9335
15667.968 | -70.9255
15679.687 | -70.908
15691.406 | -70.883
15703.125 | -70.8532
15714.843 | -70.8214
15726.562 | -70.7902
15738.281 | -70.7624
15750 | -70.7401
15761.718 | -70.725
15773.437 | -70.718
15785.156 | -70.7196
15796.875 | -70.7296
15808.593 | -70.7471
15820.312 | -70.771
15832.031 | -70.7996
15843.75 | -70.8312
15855.468 | -70.8639
15867.187 | -70.896
15878.906 | -70.9263
15890.625 | -70.9537
15902.343 | -70.9778
15914.062 | -70.9985
15925.781 | -71.0162
15937.5 | -71.0318
15949.218 | -71.0461
15960.937 | -71.0603
15972.656 | -71.0754
15984.375 | -71.0921
15996.093 | -71.1111
16007.812 | -71.1324
16019.531 | -71.1558
16031.25 | -71.1807
16042.968 | -71.206
16054.687 | -71.2307
16066.406 | -71.2533
16078.125 | -71.2727
16089.843 | -71.2876
16101.562 | -71.2972
16113.281 | -71.301
16125 | -71.2987
16136.718 | -71.2906
16148.437 | -71.2773
16160.156 | -71.2598
16171.875 | -71.2391
16183.593 | -71.2164
16195.312 | -71.193
16207.031 | -71.17
16218.75 | -71.1483
16230.468 | -71.1287
16242.187 | -71.1117
16253.906 | -71.0976
16265.625 | -71.0862
16277.343 | -71.0776
16289.062 | -71.0712
16300.781 | -71.0668
16312.5 | -71.0638
16324.218 | -71.0618
16335.937 | -71.0603
16347.656 | -71.0591
16359.375 | -71.0579
16371.093 | -71.0566
16382.812 | -71.0552
16394.531 | -71.0537
16406.25 | -71.0523
16417.968 | -71.0511
16429.687 | -71.0503
16441.406 | -71.0499
16453.125 | -71.05
16464.843 | -71.0505
16476.562 | -71.0515
16488.281 | -71.0528
16500 | -71.054
16511.718 | -71.0549
16523.437 | -71.0551
16535.156 | -71.0543
16546.875 | -71.052
16558.593 | -71.0479
16570.312 | -71.0416
16582.031 | -71.0327
16593.75 | -71.0211
16605.468 | -71.0066
16617.187 | -70.9892
16628.906 | -70.9691
16640.625 | -70.9466
16652.343 | -70.922
16664.062 | -70.8958
16675.781 | -70.8688
16687.5 | -70.8414
16699.218 | -70.8143
16710.937 | -70.7882
16722.656 | -70.7633
16734.375 | -70.7399
16746.093 | -70.7183
16757.812 | -70.6981
16769.531 | -70.6792
16781.25 | -70.661
16792.968 | -70.643
16804.687 | -70.6245
16816.406 | -70.6049
16828.125 | -70.5838
16839.843 | -70.5609
16851.562 | -70.5363
16863.281 | -70.5103
16875 | -70.4835
16886.718 | -70.457
16898.437 | -70.4317
16910.156 | -70.4091
16921.875 | -70.3904
16933.593 | -70.3766
16945.312 | -70.3686
16957.031 | -70.3667
16968.75 | -70.3709
16980.468 | -70.3805
16992.187 | -70.394
17003.906 | -70.4095
17015.625 | -70.4244
17027.343 | -70.4358
17039.062 | -70.4405
17050.781 | -70.4352
17062.5 | -70.4171
17074.218 | -70.3837
17085.937 | -70.3333
17097.656 | -70.2651
17109.375 | -70.1795
17121.093 | -70.0776
17132.812 | -69.9617
17144.531 | -69.8346
17156.25 | -69.6996
17167.968 | -69.5605
17179.687 | -69.4209
17191.406 | -69.284
17203.125 | -69.1529
17214.843 | -69.03
17226.562 | -68.917
17238.281 | -68.8151
17250 | -68.7247
17261.718 | -68.6457
17273.437 | -68.5776
17285.156 | -68.5192
17296.875 | -68.4694
17308.593 | -68.4268
17320.312 | -68.39
17332.031 | -68.3578
17343.75 | -68.3291
17355.468 | -68.3031
17367.187 | -68.2793
17378.906 | -68.2576
17390.625 | -68.2378
17402.343 | -68.2203
17414.062 | -68.2053
17425.781 | -68.1932
17437.5 | -68.1841
17449.218 | -68.1783
17460.937 | -68.1758
17472.656 | -68.1765
17484.375 | -68.18
17496.093 | -68.1859
17507.812 | -68.1936
17519.531 | -68.2028
17531.25 | -68.2127
17542.968 | -68.2232
17554.687 | -68.2338
17566.406 | -68.2445
17578.125 | -68.2555
17589.843 | -68.2668
17601.562 | -68.2789
17613.281 | -68.2922
17625 | -68.3071
17636.718 | -68.324
17648.437 | -68.3431
17660.156 | -68.3646
17671.875 | -68.3881
17683.593 | -68.4135
17695.312 | -68.4399
17707.031 | -68.4666
17718.75 | -68.4926
17730.468 | -68.5169
17742.187 | -68.5383
17753.906 | -68.5558
17765.625 | -68.5685
17777.343 | -68.5757
17789.062 | -68.5771
17800.781 | -68.5723
17812.5 | -68.5616
17824.218 | -68.5453
17835.937 | -68.5239
17847.656 | -68.4983
17859.375 | -68.4694
17871.093 | -68.4381
17882.812 | -68.4056
17894.531 | -68.373
17906.25 | -68.3412
17917.968 | -68.3113
17929.687 | -68.2841
17941.406 | -68.2602
17953.125 | -68.2404
17964.843 | -68.2248
17976.562 | -68.2139
17988.281 | -68.2074
18000 | -68.2052
18011.718 | -68.207
18023.437 | -68.2121
18035.156 | -68.2199
18046.875 | -68.2296
18058.593 | -68.2404
18070.312 | -68.2514
18082.031 | -68.262
18093.75 | -68.2715
18105.468 | -68.2794
18117.187 | -68.2856
18128.906 | -68.2902
18140.625 | -68.2933
18152.343 | -68.2957
18164.062 | -68.2979
18175.781 | -68.301
18187.5 | -68.3058
18199.218 | -68.3134
18210.937 | -68.3247
18222.656 | -68.3402
18234.375 | -68.3606
18246.093 | -68.3861
18257.812 | -68.4167
18269.531 | -68.4522
18281.25 | -68.4922
18292.968 | -68.5361
18304.687 | -68.5831
18316.406 | -68.6325
18328.125 | -68.6835
18339.843 | -68.7355
18351.562 | -68.788
18363.281 | -68.8408
18375 | -68.8938
18386.718 | -68.9472
18398.437 | -69.0015
18410.156 | -69.0573
18421.875 | -69.1153
18433.593 | -69.176
18445.312 | -69.2401
18457.031 | -69.3079
18468.75 | -69.3794
18480.468 | -69.4544
18492.187 | -69.5324
18503.906 | -69.6124
18515.625 | -69.6933
18527.343 | -69.7739
18539.062 | -69.8527
18550.781 | -69.9283
18562.5 | -69.9993
18574.218 | -70.0649
18585.937 | -70.1244
18597.656 | -70.1775
18609.375 | -70.2245
18621.093 | -70.2661
18632.812 | -70.3033
18644.531 | -70.3373
18656.25 | -70.3693
18667.968 | -70.4007
18679.687 | -70.4322
18691.406 | -70.4647
18703.125 | -70.4984
18714.843 | -70.5332
18726.562 | -70.5688
18738.281 | -70.6045
18750 | -70.6396
18761.718 | -70.6732
18773.437 | -70.7046
18785.156 | -70.7332
18796.875 | -70.7586
18808.593 | -70.7808
18820.312 | -70.8001
18832.031 | -70.817
18843.75 | -70.8324
18855.468 | -70.8473
18867.187 | -70.8626
18878.906 | -70.8792
18890.625 | -70.8979
18902.343 | -70.919
18914.062 | -70.9427
18925.781 | -70.9688
18937.5 | -70.9971
18949.218 | -71.027
18960.937 | -71.0578
18972.656 | -71.0891
18984.375 | -71.1203
18996.093 | -71.1512
19007.812 | -71.1818
19019.531 | -71.2123
19031.25 | -71.2432
19042.968 | -71.275
19054.687 | -71.3086
19066.406 | -71.3448
19078.125 | -71.3842
19089.843 | -71.4273
19101.562 | -71.4743
19113.281 | -71.5251
19125 | -71.5794
19136.718 | -71.6364
19148.437 | -71.695
19160.156 | -71.7542
19171.875 | -71.8128
19183.593 | -71.8697
19195.312 | -71.9239
19207.031 | -71.9748
19218.75 | -72.0223
19230.468 | -72.0665
19242.187 | -72.108
19253.906 | -72.1475
19265.625 | -72.1863
19277.343 | -72.2254
19289.062 | -72.2659
19300.781 | -72.3089
19312.5 | -72.3549
19324.218 | -72.4043
19335.937 | -72.457
19347.656 | -72.5126
19359.375 | -72.5701
19371.093 | -72.6289
19382.812 | -72.6877
19394.531 | -72.7456
19406.25 | -72.8018
19417.968 | -72.8559
19429.687 | -72.9079
19441.406 | -72.9582
19453.125 | -73.0076
19464.843 | -73.0574
19476.562 | -73.109
19488.281 | -73.164
19500 | -73.2239
19511.718 | -73.29
19523.437 | -73.3632
19535.156 | -73.4439
19546.875 | -73.5322
19558.593 | -73.6273
19570.312 | -73.7282
19582.031 | -73.8332
19593.75 | -73.9406
19605.468 | -74.0483
19617.187 | -74.1545
19628.906 | -74.2574
19640.625 | -74.3559
19652.343 | -74.4493
19664.062 | -74.5375
19675.781 | -74.621
19687.5 | -74.7009
19699.218 | -74.7787
19710.937 | -74.856
19722.656 | -74.9345
19734.375 | -75.016
19746.093 | -75.1015
19757.812 | -75.192
19769.531 | -75.2879
19781.25 | -75.3889
19792.968 | -75.4944
19804.687 | -75.6033
19816.406 | -75.714
19828.125 | -75.8252
19839.843 | -75.9353
19851.562 | -76.043
19863.281 | -76.1472
19875 | -76.2476
19886.718 | -76.3438
19898.437 | -76.4365
19910.156 | -76.5262
19921.875 | -76.6144
19933.593 | -76.7022
19945.312 | -76.7913
19957.031 | -76.8833
19968.75 | -76.9794
19980.468 | -77.081
19992.187 | -77.1891
20003.906 | -77.3044
20015.625 | -77.4271
20027.343 | -77.5574
20039.062 | -77.6951
20050.781 | -77.8396
20062.5 | -77.9904
20074.218 | -78.1463
20085.937 | -78.3063
20097.656 | -78.4689
20109.375 | -78.6326
20121.093 | -78.7956
20132.812 | -78.9559
20144.531 | -79.1115
20156.25 | -79.2605
20167.968 | -79.4009
20179.687 | -79.5312
20191.406 | -79.65
20203.125 | -79.7566
20214.843 | -79.8508
20226.562 | -79.9331
20238.281 | -80.0047
20250 | -80.0674
20261.718 | -80.1235
20273.437 | -80.1757
20285.156 | -80.2264
20296.875 | -80.2781
20308.593 | -80.3324
20320.312 | -80.3902
20332.031 | -80.4513
20343.75 | -80.5147
20355.468 | -80.5783
20367.187 | -80.6392
20378.906 | -80.6944
20390.625 | -80.7403
20402.343 | -80.7739
20414.062 | -80.793
20425.781 | -80.7962
20437.5 | -80.7838
20449.218 | -80.7571
20460.937 | -80.7189
20472.656 | -80.673
20484.375 | -80.6235
20496.093 | -80.575
20507.812 | -80.5315
20519.531 | -80.4959
20531.25 | -80.4704
20542.968 | -80.4554
20554.687 | -80.4503
20566.406 | -80.4529
20578.125 | -80.4599
20589.843 | -80.4674
20601.562 | -80.4711
20613.281 | -80.4669
20625 | -80.4513
20636.718 | -80.422
20648.437 | -80.3781
20660.156 | -80.3201
20671.875 | -80.2503
20683.593 | -80.172
20695.312 | -80.089
20707.031 | -80.0059
20718.75 | -79.9267
20730.468 | -79.855
20742.187 | -79.7934
20753.906 | -79.7432
20765.625 | -79.7046
20777.343 | -79.6764
20789.062 | -79.6565
20800.781 | -79.6418
20812.5 | -79.629
20824.218 | -79.6144
20835.937 | -79.595
20847.656 | -79.5684
20859.375 | -79.5333
20871.093 | -79.4895
20882.812 | -79.4383
20894.531 | -79.3819
20906.25 | -79.3234
20917.968 | -79.2665
20929.687 | -79.215
20941.406 | -79.1723
20953.125 | -79.1416
20964.843 | -79.1251
20976.562 | -79.1239
20988.281 | -79.1384
21000 | -79.1681
21011.718 | -79.2113
21023.437 | -79.2662
21035.156 | -79.3302
21046.875 | -79.401
21058.593 | -79.4766
21070.312 | -79.5555
21082.031 | -79.6371
21093.75 | -79.7218
21105.468 | -79.811
21117.187 | -79.907
21128.906 | -80.0126
21140.625 | -80.1315
21152.343 | -80.267
21164.062 | -80.4227
21175.781 | -80.6017
21187.5 | -80.8064
21199.218 | -81.0386
21210.937 | -81.2991
21222.656 | -81.5879
21234.375 | -81.9044
21246.093 | -82.2472
21257.812 | -82.6145
21269.531 | -83.0046
21281.25 | -83.4156
21292.968 | -83.8465
21304.687 | -84.2968
21316.406 | -84.7672
21328.125 | -85.2591
21339.843 | -85.7753
21351.562 | -86.3192
21363.281 | -86.8949
21375 | -87.5067
21386.718 | -88.159
21398.437 | -88.8556
21410.156 | -89.5992
21421.875 | -90.3914
21433.593 | -91.2318
21445.312 | -92.118
21457.031 | -93.0453
21468.75 | -94.0069
21480.468 | -94.9947
21492.187 | -96.0005
21503.906 | -97.0181
21515.625 | -98.045
21527.343 | -99.0849
21539.062 | -100.148
21550.781 | -101.2512
21562.5 | -102.4177
21574.218 | -103.6743
21585.937 | -105.0529
21597.656 | -106.5892
21609.375 | -108.3254
21621.093 | -110.3142
21632.812 | -112.6265
21644.531 | -115.3608
21656.25 | -118.665
21667.968 | -122.7291
21679.687 | -127.4215
21691.406 | -130.1183
21703.125 | -128.7786
21714.843 | -127.119
21726.562 | -126.2146
21738.281 | -125.8719
21750 | -125.8095
21761.718 | -125.8075
21773.437 | -125.7609
21785.156 | -125.7036
21796.875 | -125.7481
21808.593 | -125.9929
21820.312 | -126.4715
21832.031 | -127.1005
21843.75 | -127.6583
21855.468 | -127.8444
21867.187 | -127.5443
21878.906 | -126.9779
21890.625 | -126.4668
21902.343 | -126.2294
21914.062 | -126.354
21925.781 | -126.8293
21937.5 | -127.5149
21949.218 | -128.1136
21960.937 | -128.2311
21972.656 | -127.7764
21984.375 | -127.068
21996.093 | -126.4799
22007.812 | -126.2292
22019.531 | -126.3873
22031.25 | -126.9314
22042.968 | -127.7071
22054.687 | -128.3574
22066.406 | -128.4474
22078.125 | -127.8974
22089.843 | -127.1065
22101.562 | -126.4814
22113.281 | -126.2322
22125 | -126.4218
22136.718 | -127.0191
22148.437 | -127.8473
22160.156 | -128.5269
22171.875 | -128.5716
22183.593 | -127.9484
22195.312 | -127.107
22207.031 | -126.4683
22218.75 | -126.2344
22230.468 | -126.4585
22242.187 | -127.1014
22253.906 | -127.9778
22265.625 | -128.6626
22277.343 | -128.6594
22289.062 | -127.9659
22300.781 | -127.0885
22312.5 | -126.4512
22324.218 | -126.2378
22335.937 | -126.4962
22347.656 | -127.1816
22359.375 | -128.0925
22371.093 | -128.7722
22382.812 | -128.7129
22394.531 | -127.9656
22406.25 | -127.0634
22417.968 | -126.4307
22429.687 | -126.2432
22441.406 | -126.5386
22453.125 | -127.2601
22464.843 | -128.2002
22476.562 | -128.8667
22488.281 | -128.7538
22500 | -127.9504
22511.718 | -127.033
22523.437 | -126.4148
22535.156 | -126.2522
22546.875 | -126.5807
22558.593 | -127.3412
22570.312 | -128.2973
22582.031 | -128.9454
22593.75 | -128.7736
22605.468 | -127.9287
22617.187 | -127.0019
22628.906 | -126.3977
22640.625 | -126.2636
22652.343 | -126.6291
22664.062 | -127.4246
22675.781 | -128.3977
22687.5 | -129.0175
22699.218 | -128.7864
22710.937 | -127.8987
22722.656 | -126.971
22734.375 | -126.3858
22746.093 | -126.2804
22757.812 | -126.6757
22769.531 | -127.5009
22781.25 | -128.4881
22792.968 | -129.0777
22804.687 | -128.7836
22816.406 | -127.8653
22828.125 | -126.9385
22839.843 | -126.3724
22851.562 | -126.2993
22863.281 | -126.7302
22875 | -127.5812
22886.718 | -128.5759
22898.437 | -129.1287
22910.156 | -128.7753
22921.875 | -127.8266
22933.593 | -126.9025
22945.312 | -126.3608
22957.031 | -126.3161
22968.75 | -126.7792
22980.468 | -127.6613
22992.187 | -128.6572
23003.906 | -129.1687
23015.625 | -128.7584
23027.343 | -127.787
23039.062 | -126.8714
23050.781 | -126.3524
23062.5 | -126.3388
23074.218 | -126.8355
23085.937 | -127.7384
23097.656 | -128.7347
23109.375 | -129.2006
23121.093 | -128.7355
23132.812 | -127.7406
23144.531 | -126.8363
23156.25 | -126.3445
23167.968 | -126.3609
23179.687 | -126.8873
23191.406 | -127.8151
23203.125 | -128.8085
23214.843 | -129.2297
23226.562 | -128.7071
23238.281 | -127.6953
23250 | -126.8053
23261.718 | -126.3373
23273.437 | -126.3861
23285.156 | -126.9432
23296.875 | -127.8916
23308.593 | -128.8746
23320.312 | -129.2467
23332.031 | -128.6732
23343.75 | -127.6472
23355.468 | -126.7712
23367.187 | -126.3317
23378.906 | -126.4116
23390.625 | -126.9971
23402.343 | -127.9638
23414.062 | -128.9376
23425.781 | -129.2548
23437.5 | -128.6337
23449.218 | -127.5968
23460.937 | -126.7389
23472.656 | -126.3272
23484.375 | -126.4387
23496.093 | -127.0552
23507.812 | -128.0414
23519.531 | -128.9986
23531.25 | -129.2586
23542.968 | -128.5888
23554.687 | -127.5451
23566.406 | -126.7056
23578.125 | -126.3227
23589.843 | -126.4633
23601.562 | -127.1083
23613.281 | -128.1091
23625 | -129.0479
23636.718 | -129.2546
23648.437 | -128.539
23660.156 | -127.4941
23671.875 | -126.6758
23683.593 | -126.3205
23695.312 | -126.4935
23707.031 | -127.1677
23718.75 | -128.1803
23730.468 | -129.0973
23742.187 | -129.2443
23753.906 | -128.487
23765.625 | -127.4391
23777.343 | -126.6416
23789.062 | -126.3166
23800.781 | -126.5217
23812.5 | -127.2191
23824.218 | -128.2474
23835.937 | -129.1377
23847.656 | -129.2272
23859.375 | -128.4333
23871.093 | -127.3869
23882.812 | -126.6125
23894.531 | -126.318
23906.25 | -126.5517
23917.968 | -127.2786
23929.687 | -128.3131
23941.406 | -129.1752
23953.125 | -129.203
23964.843 | -128.3721
23976.562 | -127.3314
23988.281 | -126.579

## Results
Surname and Name | Matricola | Score
Carpi Fabrizio | 310393 | 4
Cappucci Davide | 255031 | 11
Laudisio Vincenzo | 259940 | 8
Magri Matteo | 248581 | 11
Malvicini Andrea | 267930 | 8
Marcotti Matteo | 263496 | 8
Morelli Elisa | 255042 | 8
Passerini Lorenzo | 262166 | 9
Podrecca Massimo | 268812 | 10
Santi Elia | 263370 | 6
Schifano Valentina Giuseppa | 255547 | 8
Tolomei Mattia | 261860 | 8